## Sheet1
material_number | material_description | company_code | plant | storage_location | material_type | material_group | base_unit_of_measure | valuation_type | valuation_class | unrestricted_use_stock | quality_inspection_stock | blocked_stock | in_transit_stock
000000001030074 | TRF DIS;D3;20kV/400V;3P;100kVA;YZN5;OD | 5600 | 5614 | 2030 | ZST1 | ZM0103 | U | NORMAL | 1000 | 1 | 0 | 0 | 0
000000001030077 | TRF DIS;D3;20kV/400V;3P;250kVA;DYN5;OD | 5600 | 5614 | 2030 | ZST1 | ZM0103 | U | NORMAL | 1000 | 26 | 0 | 0 | 0
000000001030202 | TRF DIS;D3;20kV/400V;3P;630kVA;DYN5;ID | 5600 | 5614 | 2030 | ZST1 | ZM0103 | U | NORMAL | 1000 | 6 | 0 | 0 | 0
000000002050128 | CT;380/220V;SQUARE;100/5A;0.5;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 18 | 0 | 0 | 0
000000002050133 | CT;380/220V;SQUARE;150/5A;0.5;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 91 | 0 | 0 | 0
000000002050138 | CT;380/220V;SQUARE;200/5A;2;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 198 | 0 | 0 | 0
000000002050139 | CT;380/220V;SQUARE;250/5A;0.5;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 308 | 0 | 0 | 0
000000002050142 | CT;380/220V;SQUARE;300/5A;0.5;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 210 | 0 | 0 | 0
000000002050146 | CT;380/220V;SQUARE;400/5A;0.5;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 191 | 0 | 0 | 0
000000002050161 | CT;380/220V;SQUARE;800/5A;1;5VA;P | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 3 | 0 | 0 | 0
000000002051206 | CT;20KV;K;400/5A;30VA;0,2;OD | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 12 | 0 | 0 | 0
000000002053580 | CT;20kV;K;800/5-5A;0.2S;15-10VA;ID | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | NORMAL | 1001 | 3 | 0 | 0 | 0
000000002054333 | CT;1.2KV;RING;800/5A;5P20;5VA;ID | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | NORMAL | 1001 | 6 | 0 | 0 | 0
000000002054352 | CT;20kV;RING;50/5A;0.2S;15-10VA;ID | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 2 | 0 | 0 | 0
000000002054353 | CT;20kV;RING;100/5A;0.2S;15-10VA;ID | 5600 | 5614 | 2030 | ZST1 | ZM0205 | BH | BURSA | 1020 | 2 | 0 | 0 | 0
000000002070033 | PT;20kV;K;IND;20000/V3-100/V3;0.2;10VA | 5600 | 5614 | 2030 | ZST1 | ZM0207 | BH | BURSA | 1020 | 30 | 0 | 0 | 0
000000002070040 | PT;20kV;K;;20000/V3-100/V3;0.2;30VA;ID | 5600 | 5614 | 2030 | ZST1 | ZM0207 | BH | BURSA | 1020 | 2 | 0 | 0 | 0
000000002150163 | CUB;ISO;LBS MOTORIZE;24kV;630A;16kA; | 5600 | 5614 | 2030 | ZST1 | ZM0215 | SET | BURSA | 1020 | 1 | 0 | 0 | 0
000000002150601 | CUB;ISO;CBOG+MTR;24KV;630A;16KA; | 5600 | 5614 | 2030 | ZST1 | ZM0215 | SET | BURSA | 1020 | 4 | 0 | 0 | 0
000000002171116 | RELAY;DIRECTIONAL;P127;;24-250VDC;1A-5A | 5600 | 5614 | 2030 | ZST1 | ZM0217 | BH | NORMAL | 1001 | 21 | 0 | 0 | 0
000000002190051 | MTR;kWH M;;3P;220/380V;20-60A;1;DT;4W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | BURSA | 1020 | 34 | 0 | 0 | 0
000000002190191 | MTR;OFIT;;3P;20kV/100V;150-300/5.5A;0.5; | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | BURSA | 1020 | 1 | 0 | 0 | 0
000000002190218 | MTR;kWH E;;3P;230/400V;5-80A;1;;4W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 283 | 0 | 0 | 0
000000002190224 | MTR;kWH E-PR;;1P;230V;5-60A;1;;2W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 16453 | 0 | 0 | 0
000000002190252 | MTR;kWH E-PR;;3P;230/400V;5-80A;1;;4W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 33 | 0 | 0 | 0
000000002190253 | MTR;kWH E;3P;230/400V;5-10A;1;;4W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 18 | 0 | 0 | 0
000000002190267 | MTR;kWH E;;1P;220/240V;5-100A;1;ST;2W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 110 | 0 | 0 | 0
000000002190267 | MTR;kWH E;;1P;220/240V;5-100A;1;ST;2W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | BURSA | 1020 | 1 | 0 | 0 | 0
000000002190438 | MTR;kWHE;;3P;57.7/100V-230/400;5A;0.5;4W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 165 | 0 | 0 | 0
000000002190839 | MTR;kWH E;DRUM;1P;230V;5-40A;1;;2W | 5600 | 5614 | 2030 | ZST1 | ZM0219 | BH | NORMAL | 1003 | 1152 | 100 | 0 | 0
000000002200005 | MTR ACC;TIMAH SEGEL | 5600 | 5614 | 2030 | ZST1 | ZM0220 | KG | NORMAL | 1003 | 125 | 0 | 0 | 0
000000002200016 | MTR ACC;SEGEL PUTAR PLASTIC | 5600 | 5614 | 2030 | ZST1 | ZM0220 | BH | NORMAL | 1003 | 55500 | 0 | 0 | 0
000000002200029 | MTR ACC;KAWAT SEGEL | 5600 | 5614 | 2030 | ZST1 | ZM0220 | KG | NORMAL | 1003 | 55 | 0 | 0 | 0
000000002200122 | MTR ACC;MODEM 4G 12V DC DIGITAL | 5600 | 5614 | 2030 | ZST1 | ZM0220 | BH | NORMAL | 1003 | 143 | 0 | 0 | 0
000000002240024 | FUSE;380/220V;100A;SQUARE;1 | 5600 | 5614 | 2030 | ZST1 | ZM0224 | BH | NORMAL | 1001 | 14 | 0 | 0 | 0
000000002240035 | FUSE;380/220V;160A;SQUARE;1 | 5600 | 5614 | 2030 | ZST1 | ZM0224 | BH | NORMAL | 1001 | 21 | 0 | 0 | 0
000000002240038 | FUSE;380/220V;200A;SQUARE;1 | 5600 | 5614 | 2030 | ZST1 | ZM0224 | BH | NORMAL | 1001 | 67 | 0 | 0 | 0
000000002240077 | FUSE;20/24kV;20A;TUBE;D24mm | 5600 | 5614 | 2030 | ZST1 | ZM0224 | BH | NORMAL | 1001 | 97 | 0 | 0 | 0
000000002240152 | FUSE;20/24kV;20A;TUBE;D21mm | 5600 | 5614 | 2030 | ZST1 | ZM0224 | BH | NORMAL | 1001 | 5 | 0 | 0 | 0
000000003040307 | POLE ACC;STEEL WIRE GALV 22mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0304 | M | NORMAL | 1004 | 3295 | 0 | 0 | 0
000000003060027 | COND ACC;JOINT SLEEVE AL 150mm2 COMP | 5600 | 5614 | 2030 | ZST1 | ZM0306 | BH | NORMAL | 1001 | 45 | 0 | 0 | 0
000000003060132 | COND ACC;NON TENSION JOINT AL 150mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0306 | BH | NORMAL | 1001 | 545 | 0 | 0 | 0
000000003060145 | COND ACC;JOINT SLEEVE AL 150mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0306 | BH | NORMAL | 1001 | 420 | 0 | 0 | 0
000000003060284 | COND ACC;JOINT ALCU 70mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0306 | BH | BURSA | 1020 | 200 | 0 | 0 | 0
000000003061739 | COND ACC;PERFORMED GUY GRIP GSW 22MM2 | 5600 | 5614 | 2030 | ZST1 | ZM0306 | BH | NORMAL | 1001 | 29 | 0 | 0 | 0
000000003070151 | ISOLATOR;PINPOST;PORC;24KV;;12.5kN | 5600 | 5614 | 2030 | ZST1 | ZM0307 | BH | NORMAL | 1001 | 176 | 0 | 0 | 0
000000003070152 | ISOLATOR;LINEPOST;POLYMER;24KV;;12.5kN | 5600 | 5614 | 2030 | ZST1 | ZM0307 | BH | NORMAL | 1001 | 221 | 0 | 0 | 0
000000003070154 | ISOLATOR;SUSP;POLYMER;24KV;;70kN | 5600 | 5614 | 2030 | ZST1 | ZM0307 | BH | NORMAL | 1001 | 113 | 0 | 0 | 0
000000003070160 | ISOLATOR;STRAIN KAP PIN;PORC;24KV;;70kN | 5600 | 5614 | 2030 | ZST1 | ZM0307 | BH | NORMAL | 1001 | 21 | 0 | 0 | 0
000000003100063 | STRINGSET ACC;STRAIN CLAMP 70-150 mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0310 | BH | NORMAL | 1001 | 30 | 0 | 0 | 0
000000003110010 | CABLE PWR;N2XSY;1X35mm2;20kV;UG | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 1179 | 0 | 0 | 0
000000003110015 | CABLE PWR;NA2XSEYBY;3X240mm2;20kV;UG | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 1099 | 0 | 0 | 0
000000003110016 | CABLE PWR;NA2XSEYBY;3X300mm2;20kV;UG | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 1142 | 0 | 0 | 0
000000003110025 | CABLE PWR;NFA2X;2X10mm2;0.6/1kV;OH | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 300 | 0 | 0 | 0
000000003110029 | CABLE PWR;NFA2X;4X16mm2;0.6/1kV;OH | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 105 | 0 | 0 | 0
000000003110030 | CABLE PWR;NFA2X;4X25mm2;0.6/1kV;OH | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 1515 | 0 | 0 | 0
000000003110054 | CABLE PWR;NYFGBY;4X25mm2;0.6/1kV;UG | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 25 | 0 | 0 | 0
000000003110058 | CABLE PWR;NYFGBY;4X95mm2;0.6/1kV;UG | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 965 | 0 | 0 | 0
000000003110515 | CABLE PWR;NYY;1X95mm2;0.6/1kV;Opstig | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 1000 | 0 | 0 | 0
000000003110517 | CABLE PWR;NYY;1X240mm2;0.6/1kV;Opstig | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 307 | 0 | 0 | 0
000000003110542 | CABLE PWR;NFA2X-T;3X70+1X70;0.6/1kV;OH | 5600 | 5614 | 2030 | ZST1 | ZM0311 | M | NORMAL | 1001 | 23477 | 0 | 0 | 0
000000003120006 | CABLE PWR ACC;BUNDLE END PROTECTION | 5600 | 5614 | 2030 | ZST1 | ZM0312 | SET | BURSA | 1020 | 15 | 0 | 0 | 0
000000003120007 | CABLE PWR ACC;CABLE SHOE AL 150mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 198 | 0 | 0 | 0
000000003120038 | CABLE PWR ACC;DEAD END ASSY FIXED 70mm | 5600 | 5614 | 2030 | ZST1 | ZM0312 | SET | NORMAL | 1001 | 830 | 0 | 0 | 0
000000003120092 | CABLE PWR ACC;SUSPENSION ASSY 70mm | 5600 | 5614 | 2030 | ZST1 | ZM0312 | SET | NORMAL | 1001 | 725 | 0 | 0 | 0
000000003120142 | CABLE PWR ACC;WEDGE CLAMP 2x(6-16)mm | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 864 | 0 | 0 | 0
000000003120156 | CABLE PWR ACC;CABLE SHOE AL-CU 1H 70mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 28 | 0 | 0 | 0
000000003120159 | CABLE PWR ACC;CABLE SHOE AL-CU 1H 150mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 21 | 0 | 0 | 0
000000003120171 | CABLE PWR ACC;CABLE SHOE AL-CU 2H 150mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 145 | 0 | 0 | 0
000000003120242 | CABLE PWR ACC;CABLE SHOE CU OD 1H 95mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 25 | 0 | 0 | 0
000000003120246 | CABLE PWR ACC;CABLE SHOE CU OD 1H 240mm2 | 5600 | 5614 | 2030 | ZST1 | ZM0312 | BH | NORMAL | 1001 | 63 | 0 | 0 | 0
000000003120506 | CABLE PWR ACC;DOP CABLE 3X240/300MM | 5600 | 5614 | 2030 | ZST1 | ZM0312 | SET | NORMAL | 1001 | 480 | 0 | 0 | 0
000000003130027 | JOINT;1kV;AL-CU;3X70+50-4X95mm2;;3P;PRHS | 5600 | 5614 | 2030 | ZST1 | ZM0313 | SET | NORMAL | 1001 | 37 | 0 | 0 | 0
000000003130029 | JOINT;1kV;CU-CU;10-10mm2;;1P;PRHS | 5600 | 5614 | 2030 | ZST1 | ZM0313 | BH | BURSA | 1020 | 480 | 0 | 0 | 0
000000003130032 | JOINT;1kV;CU-CU;16-16mm2;;1P;PRHS | 5600 | 5614 | 2030 | ZST1 | ZM0313 | BH | BURSA | 1020 | 8766 | 0 | 0 | 0
000000003130089 | JOINT;1kV;AL-CU;16-25/6-16mm2;;1P;PRHS | 5600 | 5614 | 2030 | ZST1 | ZM0313 | BH | BURSA | 1020 | 6567 | 0 | 0 | 0
000000003190002 | CUT OUT;20kV;6-100A;10kA;125kV | 5600 | 5614 | 2030 | ZST1 | ZM0319 | BH | NORMAL | 1001 | 225 | 0 | 0 | 0
000000003200009 | CUT OUT ACC;FUSE LINK 20kV 30A | 5600 | 5614 | 2030 | ZST1 | ZM0320 | BH | NORMAL | 1001 | 11 | 0 | 0 | 0
000000003210020 | POLE TOP SWITCH;24KV;630A;16KA;LBS RTU | 5600 | 5614 | 2030 | ZST1 | ZM0321 | SET | NORMAL | 1001 | 4 | 0 | 0 | 0
000000003250021 | MCB;380/400V;3P;20A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | BURSA | 1020 | 1056 | 0 | 0 | 0
000000003250046 | MCB;230/400V;1P;2A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 1064 | 0 | 0 | 0
000000003250048 | MCB;230/400V;1P;4A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 50 | 0 | 0 | 0
000000003250050 | MCB;230/400V;1P;6A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 524 | 0 | 0 | 0
000000003250052 | MCB;230/400V;1P;10A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 1837 | 0 | 0 | 0
000000003250054 | MCB;230/400V;1P;16A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 1276 | 0 | 0 | 0
000000003250056 | MCB;230/400V;1P;20A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 5118 | 0 | 0 | 0
000000003250058 | MCB;230/400V;1P;25A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 277 | 0 | 0 | 0
000000003250059 | MCB;230/400V;1P;35A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 5 | 0 | 0 | 0
000000003250060 | MCB;230/400V;1P;50A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 20 | 0 | 0 | 0
000000003250080 | MCB;380/440V;3P;630A;50HZ;MCCB | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 3 | 0 | 0 | 0
000000003250097 | MCB;230/400V;3P;10A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 209 | 0 | 0 | 0
000000003250099 | MCB;230/400V;3P;16A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 135 | 0 | 0 | 0
000000003250100 | MCB;230/400V;3P;20A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 542 | 0 | 0 | 0
000000003250102 | MCB;230/400V;3P;25A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 41 | 0 | 0 | 0
000000003250103 | MCB;230/400V;3P;35A;50Hz; | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 169 | 0 | 0 | 0
000000003250296 | MCB;230/415V;3P;200A;50Hz;MCCB+SHUNTTRIP | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 14 | 0 | 0 | 0
000000003250297 | MCB;230/415V;3P;225A;50Hz;MCCB+SHUNTTRIP | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 10 | 0 | 0 | 0
000000003250298 | MCB;230/415V;3P;250A;50Hz;MCCB+SHUNTTRIP | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 3 | 0 | 0 | 0
000000003250300 | MCB;230/415V;3P;80A;50Hz;MCCB+SHUNTTRIP | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 8 | 0 | 0 | 0
000000003250302 | MCB;230/415V;3P;125A;50Hz;MCCB+SHUNTTRIP | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 11 | 0 | 0 | 0
000000003250303 | MCB;230/415V;3P;160A;50Hz;MCCB+SHUNTTRIP | 5600 | 5614 | 2030 | ZST1 | ZM0325 | BH | NORMAL | 1003 | 7 | 0 | 0 | 0
000000003260024 | LVSB;DIST;3P;380V;400A;2LINE;OD | 5600 | 5614 | 2030 | ZST1 | ZM0326 | SET | BURSA | 1020 | 2 | 0 | 0 | 0
000000003260161 | LVSB;DIST;3P;400V;250A;2LINE;OD | 5600 | 5614 | 2030 | ZST1 | ZM0326 | SET | NORMAL | 1001 | 2 | 0 | 0 | 0
000000003260224 | LVSB;DIST;3PH;400V;1000A;6LINE;ID | 5600 | 5614 | 2030 | ZST1 | ZM0326 | SET | NORMAL | 1001 | 7 | 0 | 0 | 0
000000003260226 | LVSB;DIST;3P;400V;630A;4LINE;OD | 5600 | 5614 | 2030 | ZST1 | ZM0326 | SET | NORMAL | 1001 | 5 | 0 | 0 | 0
000000003260237 | LVSB;DIST;3P;400V;400A;2LINE;OD | 5600 | 5614 | 2030 | ZST1 | ZM0326 | SET | NORMAL | 1001 | 3 | 0 | 0 | 0
000000003260238 | LVSB;DIST;3P;400V;400A;4LINE;OD | 5600 | 5614 | 2030 | ZST1 | ZM0326 | SET | NORMAL | 1001 | 10 | 0 | 0 | 0
000000003270149 | LVSB ACC;RAIL PLATE COPPER | 5600 | 5614 | 2030 | ZST1 | ZM0327 | BH | NORMAL | 1001 | 4 | 0 | 0 | 0
000000003280066 | CONN;1kV;;AL;10-16/10-16mm2;PRS HS;WP | 5600 | 5614 | 2030 | ZST1 | ZM0328 | BH | NORMAL | 1001 | 2100 | 0 | 0 | 0
000000003280075 | CONN;1kV;;AL;70-70/70-70mm2;PRS HS;WP | 5600 | 5614 | 2030 | ZST1 | ZM0328 | BH | NORMAL | 1001 | 431 | 0 | 0 | 0
000000003280153 | CONN;20kV;H;AL;35-70/70-150mm2;PRS; | 5600 | 5614 | 2030 | ZST1 | ZM0328 | BH | NORMAL | 1001 | 170 | 0 | 0 | 0
000000003280154 | CONN;20kV;H;AL;70-150/120-240mm2;PRS; | 5600 | 5614 | 2030 | ZST1 | ZM0328 | BH | NORMAL | 1001 | 558 | 0 | 0 | 0
000000003280185 | CONN;20kV;H;AL;150-150mm2;PRS; | 5600 | 5614 | 2030 | ZST1 | ZM0328 | BH | NORMAL | 1001 | 220 | 0 | 0 | 0
000000003280450 | CONN;1KV;KP;AL;35-50/10-16MM2;PRS; | 5600 | 5614 | 2030 | ZST1 | ZM0328 | BH | NORMAL | 1001 | 1440 | 0 | 0 | 0
000000004120041 | BOX;kWH E TM;ST PLATE 1.2MM; | 5600 | 5614 | 2030 | ZST1 | ZM0412 | BH | NORMAL | 1005 | 4 | 0 | 0 | 0
000000004120096 | BOX;APPIII MCCB160A;PLAT 2mm;60X40X100cm | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1005 | 2 | 0 | 0 | 0
000000004120097 | BOX;APPIII MCCB200A;PLAT 2mm;60X40X100cm | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1005 | 13 | 0 | 0 | 0
000000004120099 | BOX;APPIII MCCB250A;PLAT 2mm;60X40X100cm | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1005 | 7 | 0 | 0 | 0
000000004120100 | BOX;APPIII MCCB300A;PLAT 2mm;60X40X100cm | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1005 | 17 | 0 | 0 | 0
000000004120115 | BOX;APPIII MCCB80A;PLAT 2mm;60X40X100cm | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1005 | 1 | 0 | 0 | 0
000000004120116 | BOX;APPIII MCCB125A;PLAT 2mm;60X40X100cm | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1005 | 3 | 0 | 0 | 0
000000004120229 | BOX;APPV TR;ST PLATE 2mm; | 5600 | 5614 | 2030 | ZST1 | ZM0412 | BH | NORMAL | 1005 | 52 | 0 | 0 | 0
000000004120242 | BOX;APP;TM | 5600 | 5614 | 2030 | ZST1 | ZM0412 | BH | BURSA | 1020 | 1 | 0 | 0 | 0
000000004120314 | BOX;APPIIIMCCB225A;PLT1.5MM;1205X420X250 | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | BURSA | 1020 | 17 | 0 | 0 | 0
000000004120318 | BOX;PANEL STANDSPLU;PLAT2MM;1500X520X520 | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | NORMAL | 1003 | 1 | 0 | 0 | 0
000000004120405 | BOX;APP KWH TERPUSAT;ST PLATE;1600X400CM | 5600 | 5614 | 2030 | ZST1 | ZM0412 | SET | BURSA | 1020 | 1 | 0 | 0 | 0
000000004150048 | PANEL ACC;TEST BLOCK CURRENT | 5600 | 5614 | 2030 | ZST1 | ZM0415 | BH | NORMAL | 1005 | 9 | 0 | 0 | 0
000000004160036 | CABLE CTRL;NYMHY;4X2.5mm2;0.6/1kV;OH | 5600 | 5614 | 2030 | ZST1 | ZM0416 | M | NORMAL | 1002 | 250 | 0 | 0 | 0
000000004160036 | CABLE CTRL;NYMHY;4X2.5mm2;0.6/1kV;OH | 5600 | 5614 | 2030 | ZST1 | ZM0416 | M | BURSA | 1020 | 900 | 0 | 0 | 0
000000004170174 | CABLE CTRL ACC;CABLE SCHOEN O 6MM | 5600 | 5614 | 2030 | ZST1 | ZM0417 | PAC | NORMAL | 1002 | 1900 | 0 | 0 | 0
000000004190129 | UNIV ACC;GROUND ROD BC DIA5/8INX2.5m | 5600 | 5614 | 2030 | ZST1 | ZM0419 | BTG | NORMAL | 1005 | 434 | 0 | 0 | 0